{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Esgoto"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Esgoto","index":0,"n_rows":8,"n_cols":17,"rows_kept":8,"cut":false,"hidden":false,"merged":[[3,15,4,15],[3,16,4,16],[3,10,4,10],[3,11,4,11],[3,0,4,0],[3,13,4,13],[3,14,4,14],[3,8,4,8],[3,9,4,9],[3,6,4,6],[3,7,4,7],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5]]}
[]
[]
[1,2,3,4,5,6,7,8,9,10,11,12,null,13,14,15,16]
["Trecho","Bacia Sanitária ","Banheira","Bebedouro","Bidê","Chuveiro ","Lavatório","Pia de Cozinha","Lavadora de Louças","Lavadora de Roupas","Tanque","Outros",null,"Total (UHC)","Ø Ramal de Esgoto (mm)","Ø  Tubo de Queda (mm)","Ø Coletor Predial (mm)"]
[]
[1,3,0,1,0,2,3,1,0,1,1,0,null,34.5,150,100]
[1,1,1,0,0,1,1,1,1,0,1,0,null,19,150,100]
[1,1,0,0,0,1,1,1,0,1,1,0,null,18,150,100]